## Slide 1: VPR Calibration with Thermally Stable Aerosols
Alexander Bergmann

## Slide 2: AVL APC Calibration Procedure (PCRF) [since 2007]
30nm 50nm 100nm
350°C DR=1:30
D5010nm
Settings: 30nm [30,50nm] 50nm [100nm]
Flows and pressures are kept the same at step 1 and step 2!
30nm 50nm 100nm
350°C DR=1:30
D5010nm
Settings: 30nm [30,50nm] 50nm [100nm]

## Slide 3: Proof of Thermal Stablity of the Aerosol
DF
T
Aerosol Source

## Slide 4: Proof of Particle Number Size distributions at the inlet and the outlet of the APC during Calibration

## Slide 5: Calibration of 252 PCRFs with 60 AVL APCs
Correlation of PCRF at 50nm with overall PCRF

## Slide 6: Conclusions
Use of thermally stable aerosols [up to the temperature of the ET (Evaporation Tube Setting)] is of major importance to perform meaningful PCRF calibrations.
One way of generating thermally stable aerosols [up to the temperature of the ET (Evaporation Tube Setting)] is to use a CAST (Combustion Aerosol standard) with following thermal treatment and dilution [e.g. VPR, Catalytic Stripper, etc.].
Using CAST Aerosols fullfills the Calibration principle of „Similarity“
Experienced particle losses - when using thermally stable aerosols - agree nicley with predictions from aerosol theory.
Calibration of >250 PCRFs for AVL APCs showed very repeatable results (5%)
Simplification of the PCRF Calibration could be achieved by using only Aerosols with approx. 50nm Mean Diameter and GSD of <1.4, resulting in compareable (5%) calibration results.