## Slide 1: WLTP-DTP Subgroup Additional Pollutants Progress report
WLTP-DTP-AP, Mörsch/Astorga
Date: 18. Jan. 2012
WLTP-DTC-08-09

## Slide 2
WLTP-DTP-AP, Mörsch/Astorga
Meeting schedule
First Meeting: Telephone/Web Conference 20th July 2010 16 participants
2nd Meeting: Telephone/Web Conference 20th July 2010 20 participants
3rd Meeting: Face to face meeting at JRC/Ispra 9/10 Dec. 2010 14 participants
4th Meeting: Face to face meeting at BMW/Munich 7/8 March 2011 18 participants
5th Meeting: Face to face meeting at JRC/Ispra 10/11 Mai 2011 16 participants
6th Meeting: Telephone/Web Conference 09th Dec. 2012 16 participants
Notes: <number>

## Slide 3
WLTP-DTP-AP, Mörsch/Astorga
NO-measurement
All measurements:
  Absolute difference between dilute and modal measurement
Repeat tests:
  Variability of NO result compared to NOx-measurement
  Variability of NO result from bag measurement versus dilute modal
Qualitative assessment parameters
for validation phase 2

## Slide 4
WLTP-DTP-AP, Mörsch/Astorga
Issue was discussed within group. There was agreement, that only NO2 should be required from all labs in VP2:
  most labs do not have instrumentation or instrumentation is not available for other APs
  reference fuel E5  measurement of EtOH and Aldehydes not meaningful
Decision:
EtOH and Aldehydes should not be measured in VP2
Allow labs to use existing equipment without specifying parameter list:
  NH3 only for Diesel with SCR  take care of extracted sample!!
  N2O
  Report setup/analyzers used and experiences made
Request to prepare parameter list for further
additional pollutants

## Slide 5
WLTP-DTP-AP, Mörsch/Astorga
After discussion of pros and cons it was decided to retain the possibility of bag measurement of NO for VP2.
All participating labs should measure both ways (bag and dilute modal).
Further decision will be based on results of VP2.
Parameter list has been amended (Version03)
NO measurement from Bag

## Slide 6
WLTP-DTP-AP, Mörsch/Astorga
Parameter List (AP) Version 03

## Slide 7
WLTP-DTP-AP, Mörsch/Astorga
Allow bag measurement for NO2?
To be addressed in validation phase 2
NH3 sampling during engine off
Temperature for NH3 sampling (110 – 190?°C)
proposal:  setpoint between 110 °C and 190 °C with range of +/- 10 K
 JAMA position: between 110 and 133 due to decomposition of urea
Open Issues

## Slide 8
WLTP-DTP-AP, Mörsch/Astorga
Traceability to national standards of cal gas for AP
 DTP  gas industry  difficulties for NH3, ETOH to be expected, achievable accuracy/stability has to be established
Open Issues