INF.3

Economic Commission for Europe Inland Transport Committee Working Party on the Transport of Perishable Foodstuffs 14 July2014 Seventieth session Geneva, 7-10 October 2014 Item 5 (b) of the provisional agenda Proposals of amendments to the ATP: New proposals.

Proposal regarding references to standards in Annexes to the ATP and the revision of references to certain standards in Annexes to the ATP

Submitted by the Russian Federation

| SUMMARY |  |
| --- | --- |
| Substance of the proposal: | Alongside international standards (ISO, AMCA), Annexes to the ATP contain references to regional (EN) and national (BS– Great Britain; DIN – Germany; NEN – Netherlands; NF – France) standards. Yet regional and national standards may only be applied in the relevant countries and are not valid with respect to all ATP signatories. Furthermore, many standards referenced in Annexes to the ATP are either obsolete or misnamed or unavailable in public information sources on standardization, specifically, in the Russian Federation. The approach to referencing standards should be revised, while ensuring compliance with the relevant ATP requirements. |
| Proposed solution: | It is the view of the Russian Federation that the ATP may only reference international ISO standards or explicitly specify, in place of the existing references, the implied requirements that should be mandatory for all ATP signatories. |
| Reference information: | N.A. |

Introduction

1.	 At its 69th session, the Working Party on Transport of Perishable Foodstuffs broadly discussed references to standards in the ATP to the effect that:

standards change often and references to standards in the ATP consequently require updating;

a distinction should be drawn between standards that are mandatory and those that are not;

regional and national standards are not applicable in all countries contracting into the ATP;

WP.11 Rules of Procedure should be amended to include provisions on introduction of new standards into the ATP;

an informal working group should be set up to evaluate references to standards proposed for inclusion in the ATP and to check whether existing references are still valid.

The discussion revealed two positions:

The proposals set out in the document ECE/TRANS/WP.11/2013/16 (Netherlands), including, inter alia, proposed amendments to the WP.11 Rules of Procedure for including provisions on adoption of new standards in the ATP and on establishment of an informal working group to evaluate references to standards proposed for adoption and to check whether references to standards existing in the ATP are still valid (the position was voted on);

that of the Russian Federation maintaining that, if retained, the existing references to standards in the ATP impose illegal obligations on, specifically, the Russian Federation to comply with regional (European) and national standards and that, if references to standards other than ISO are included in the ATP, a specific reservation should be made therein stating that regional and national standards are only applicable in certain countries.

The Working Party agreed, however, that the issue of references to standards in the ATP was important and should be kept on the agenda for the 70th WP.11 session.

It was proposed at the 69thWP.11 session that the Russian Federation prepare an informal document to clarify its position on the matter for the 70th WP.11 session.

2. 	Russian specialists have analyzed the references to standards in the ATP (See Table), which revealed the following:

2.1. 	The ATP contains references not only to international but also regional and national standards.

International standards in the ATP include ISO (International Organization for Standardization) and AMCA (Air Movement and Control Association International, Inc.) standards.

Among other things, 46 ATP contracting parties are ISO members (with the exception of Andorra and Monaco), including 39 full ISO members and 7 associated ISO members.

Furthermore, 10 of the ATP contracting parties (Denmark, France, Germany, Italy, the Netherlands, Spain, Sweden, Ukraine, the United Kingdom, and the USA) are AMCA members.

Regional standards in the ATP include European standards (EN) adopted by the European Committee for Standardization (CEN), with the right to be applied on a par with identical national standards and supersede inconsistent national standards.

According to directive 98/34/EC, CEN is the only recognized European body responsible for planning, developing and adopting European standards in all spheres of economic activity, except for CENELEC (European Committee for Electrotechnical Standardization) and ETSI (European Telecommunications Standards Institute).

CEN members include national standardization authorities from 28 European Union (EU) member States, the former Yugoslav Republic of Macedonia, Turkey and three members of the European Free Trade Association (EFTA): Iceland, Norway and Switzerland, including 29 of the 33 CEN members involved in the ATP as contracting parties (Austria, Belgium, Bulgaria, Croatia, Czech Republic, Denmark, Estonia, Finland, former Yugoslav Republic of Macedonia, France, Germany, Greece, Hungary, Ireland, Italy, Latvia, Lithuania, Luxembourg, the Netherlands, Norway, Poland, Portugal, Romania, Slovakia, Slovenia, Spain, Sweden, Turkey, and United Kingdom).

National standards referenced in the ATP include British standards (BS), German standards (DIN), Dutch standards (NEN) and French standards (NF).

Considering the likelihood of the AMCA 210-07 standard being redesignated as ANSI/AMCA Standard 210-07, ANSI/ASHRAE 51-07, the ATP might end up referencing US standards: the national ANSI (American National Standards Institute) and ASHRAE (American Society of Heating, Refrigerating, and Air-Conditioning Engineers) standards.

2.2. 	The status of certain standards referenced in the current version of the ATP has changed, so they have been replaced with other standards:

BS 3122 has been replaced with BS EN 13771-1:2003, BS 3122-2:1990 and BS EN 12900:2013;

BS 848 has been replaced with BS 848-1:2007, BS EN ISO 5801:2008;

AMCA 210-07 has most likely been replaced with, inter alia, ANSI/AMCA Standard 210-07, ANSI/ASHRAE 51-07;

DIN 24163 (DIN 24163-1:1985, DIN 24163-2:1985 and DIN 24163-3:1985) has been replaced with DIN EN ISO 5801:2011;

NF E36-101-1981 (ATP contains a reference to an incorrectly designated NF standard, NFE 36101) has been replaced with NF EN 14511-2 – 2013 and NF EN 14511-3 – 2013;

NF X10.102 (NF X10-102-1992) has been replaced with NF EN ISO 5167-1 – 2003.

In public information sources on standardization in the Russian Federation, the EN 13486 and EN 12830 standards are designated as BS EN 13486:2002, DIN EN 13486-2000, and BS EN 12830:1999, DIN EN 12830-1999, respectively, since European EN standards are commonly designated in the Russian Federation as BS EN (if in English) or DIN EN (if in German).

2.3. 	Some standards referenced in the ATP:

are unavailable in public information sources on standardization, at least in the Russian Federation: ISO 971, AMCA 210-85 (possibly, as a result of a change in status), DIN 4796;

are incorrectly designated: ISO 971 (correct designation - ISO 917:1989), NFE 36101 (correct designation - NF E36-101), NF X10.102 (correct designation - NF X10-102).

2.4.	The last passage of Annex 1, Appendix 2, paragraph 4.3.2 to the ATP stipulates use of only German (DIN) and Dutch (NEN) national standards; yet it ends in “etc.”, most likely suggesting that any other, including national, standards setting forth requirements on the testing procedure may be used.

3. 		The analysis of the entire range of standards referenced in the current version of the ATP has revealed that standards are obviously being constantly updated and their designations and status change as a consequence.

To update continuously references to standards in the ATP by designating informal working groups to assess the references, as well as to ascertain continuously whether the existing references are still valid, would be a non-constructive and costly solution.

Furthermore, references to regional and national standards of a number of countries included in the ATP are unacceptable to other countries.

Consequently, the Russian Federation suggests adopting a different approach to references to standards in the ATP.

Proposed Approach

4. 		The ATP should contain references to standards recognized by all contracting parties to the ATP, i.e., the international ISO standards.

Where the ISO system lacks a standard required for the purposes of the ATP, a reference to the corresponding regional or national standard could be made, with the general reservation to be included in the ATP that such standards may only be applied in countries where they are applicable, whereas other countries in which such standards are not applicable may be guided by relevant requirements of the regional and national standards specified in the ATP, while relying on their national standards.

The Russian Federation considers it necessary to discuss these approaches to including references to standards in the ATP and Annexes thereto at the 70th session of the Working Party.

Rationale

5. 		The Russian Federation agrees with the argumentation provided by the Netherlands in the ECE/TRANS/WP.11/2013/16 (Netherlands) document to the effect that references included in the ATP or Annexes thereto should be binding on all contracting parties and be approved by the contracting parties; the document (standard) to which a reference is included in the ATP should be available to all contracting parties to the ATP for assessment of its contents.

6. 		Yet the Russian Federation also believes that standards referenced in the ATP or Annexes thereto must be applicable in all ATP contracting countries. This could be achieved by using ISO standards or by including specifications of the requirements to be met during relevant testing and measurement procedures in the ATP or Annexes thereto.

Costs

7. 		No extra costs are anticipated, since all the contracting parties to the ATP and the WP.11 Secretariat exchange documents in electronic format.

Practicability

8. 		A transition period might be required for implementing the solutions proposed by the Russian Federation.

9. 		The proposed changes would create a better environment for compliance with the ATP requirements.

Challenges of ensuring compliance

10. 	No problems are anticipated.

|  | Table |
| --- | --- |

Information on standards referenced in the ATP obtained from standardization information sources in the Russian Federation

| ATP passage containing references to standards1 | Standard referenced in the ATP | Standard Details |  |  |
| --- | --- | --- | --- | --- |
|  |  | Designation | Name | Status (current, withdrawn, superseded) |
| Annex 1, Appendix 2, Paragraph 4.3.2, last passage | ISO 971 | Wrong designation of the standard in the ATP. ISO 971 cannot be found in any information sources on standardization in the Russian Federation. Reference to ISO 971 must be replaced with a reference to ISO 917:1989 “Testing of refrigerant compressors” in the ATP. |  |  |
|  |  | ISO 917:1989 | - Testing of refrigerant compressors | Current |
|  | BS 3122 | BS 3122-1:1977 | - Refrigerant compressors. Methods of test for performance | Superseded by BS 3122-1:1990 |
|  |  | BS 3122-1:1990 | Refrigerant compressors. Methods of test for performance | Superseded by BS EN 13771-1:2003 |
|  |  | BS EN 13771-1:2003 | Compressor and condensing units for refrigeration. Performance testing and test methods. Refrigerant compressors | Current |
|  |  | BS 3122-2:1979 | Refrigerant compressors. Method for presentation of performance data | Superseded by BS 3122-2:1990 |
|  |  | BS 3122-2:1990 | Refrigerant compressors. Method for presentation of performance data | Current |
|  |  | BS EN 12900:2013 | Refrigerant compressors. Rating conditions, tolerances and presentation of manufacturer's performance data | Current |
|  | DIN | Deutsches Institut fuer Normung e.V.(DIN) is the entity responsible for DIN standards. |  |  |
|  | NEN | The Netherlands Standardization Institute (NEN) is the entity responsible for NEN standards. |  |  |
| Annex 1, Appendix 2, Paragraph 4.3.4 ii) | BS 848 | BS 848-1:1980 | Fans for general purposes. Methods of testing performance | Superseded by BS 848-1:2007, BS EN ISO 5801:2008 |
|  |  | BS 848-1:2007, BS EN ISO 5801:2008 | Industrial fans. Performance testing using standardized airways | Current |
|  | ISO 5801 | ISO 5801:2007, ISO 5801:2007/Cor.1:2008 | Industrial fans - Performance testing using standardized airways | Current |
|  | AMCA 210-85 | AMCA 210-85 cannot be found in any information sources on standardization in the Russian Federation, possibly, due to a change of status. |  |  |
|  | AMCA 210-07 | AMCA 210-07 | Laboratory Methods of Testing Fans for Aerodynamic Performance Rating | Not specified but the designation AMCA 210-07 has obviously been changed to ANSI/AMCA Standard 210-07, ANSI/ASHRAE 51-07 |
|  |  | ANSI/AMCA Standard 210-07, ANSI/ASHRAE 51-07 ANSI means standards developed by the American National Standards Institute ASHRAE means standards developed by the American Society of Heating, Refrigerating, and Air-Conditioning Engineers | Laboratory Methods of Testing Fans for Aerodynamic Performance Rating | Current |
|  | DIN 24163 | DIN 24163-1:1985 | Fans; performance testing, standard characteristics | Superseded by DIN EN ISO 5801:201 |
|  |  | DIN 24163-2:1985 | Fans; performance testing, standardized test airways | Superseded by DIN EN ISO 5801:2011 |
|  |  | DIN 24163-3:1985 | Fans; performance testing of small fans using standardized test airways | Superseded by DIN EN ISO 5801:2011 |
|  |  | DIN EN ISO 5801:2011 | Industrial fans - Performance testing using standardized airways (ISO 5801:2007, including Corr 1:2008); German version EN ISO 5801:2008 | Current |
|  | DIN 4796 | DIN 4796 cannot be found in any information sources on standardization in the Russian Federation. |  |  |
|  | NFE 36101 | Wrong designation of the standard in the ATP. |  |  |
|  |  | NF E36-101-1981 | AIR CONDITIONING. ROOM AIR CONDITIONERS WITH AIR-COOLED CONDENSERS. GENERAL. CONSTRUCTIONAL CHARACTERISTICS. METHODS OF TEST MARKING. | Superseded, replaced by NF EN 814-2-1997 |
|  |  | NF EN 814-2-1997 | Air conditioners and heat pumps with electrically driven compressors. Cooling mode. Part 2: testing and requirements for marking. | Superseded by NF EN 14511-2 – 2013 and NF EN 14511-3 - 2013 |
|  |  | NF EN 14511-2 - 2013 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 2: Test conditions | Current |
|  |  | NF EN 14511-3 - 2013 | Air conditioners, liquid chilling packages and heat pumps with electrically driven compressors for space heating and cooling - Part 3: Test methods | Current |
|  | NF X10.102 | NF X10-102-1992 | MEASUREMENT OF FLUID FLOW BY MEANS OF PRESSURE DIFFERENTIAL DEVICES. PART 1: ORIFICE PLATES, NOZZLES AND VENTURI TUBES INSERTED IN CIRCULAR CROSS-SECTION CONDUITS RUNNING FULL. | Superseded by NF EN ISO 5167-1 |
|  |  | NF EN ISO 5167-1 - 2003 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full - Part 1: General principles and requirements | Current |
| Annex 2, Appendix 1, Paragraph 2 | EN 13486 | BS EN 13486:20022 DIN EN 13486-20002 | Temperature recorders and thermometers for the transport, storage and distribution of chilled, frozen, deep-frozen/quick-frozen food and ice cream – Periodic verification | Current |
| Annex 2, Appendix 1, Paragraph 3 | EN 12830 | BS EN 12830:19992 DIN EN 12830-19992 | Temperature recorders for the transport, storage and distribution of chilled, frozen, deep-frozen/quick-frozen food and ice cream – Tests, performance, suitability | Current |

1	As amended as of 23 September 2013;

2	In the Russian Federation, European standards EN are most commonly designated as BS EN (if in English) or DIN EN (if in German).