Small Scale Water Supplies in the European Region

Background - Challenges - Improvements

Prepared by Bettina Rickert and Oliver Schmoll

Preliminary Draft

25 May 2010

Contents

Background	1

What are small scale water supplies?	2

Why are small scale water supplies important?	3

What are the challenges?	6

What is the evidence?	8

What are the cost and benefits of interventions?	11

How can WSP improve small scale water supplies?	12

Existing resource materials	14

Current network activities	16

Way forward	18

# Background

Small scale water supplies are the backbone of water supply in rural areas in the entire European Region.

Safe and acceptable water for human consumption that is available in sufficient quantity, physically accessible and affordable is a crucial prerequisite for human wellbeing. Access to safe water is not only fundamental to good health but also to satisfactory livelihoods, dignity and prospects for economic growth and education. The lack of access to sufficient amounts of safe water leads to human suffering and to loss of human potential which is ethically indefensible as well as economically wasteful.

The provision of safe and acceptable drinking-water of sufficient quantity frequently represents a challenge to small scale water supplies. Experience has shown that they are more vulnerable to breakdown and contamination than larger utilities, and that they require particular political attention due to their administrative, managerial or resourcing specifics. Many of today's national and international policy frameworks already recognise that further attention to this topic is needed.

This includes the Protocol on Water and Health to the 1992 Convention on the Protection and Use of Transboundary Watercourses and International Lakes (London, 17 June 1999), the first legally binding, multilateral agreement in the European Region linking sustainable water management and health protection. One of the Protocol’s aims is to prevent, control and reduce water-related disease through adequate supply of safe drinking-water. Given the significance of small scale water supplies in the rural and peri-urban areas in the entire European Region, more focussed attention to this topic has been increasingly recognised by the Protocol Parties.

As part of the Protocol’s programme of work, the Federal Environment Agency (FEA), World Health Organization (WHO) Collaborating Centre for Research on Drinking Water Hygiene, Germany, hosted a workshop on “Water Safety in Small Scale Water Supplies in the European Region: Common Challenges and Needs” (Bad Elster, 26-27 November 2008). Participants from nineteen countries, including drinking-water regulators, researchers, health surveillance professionals and field-workers of non-governmental organisations (NGO), shared their experiences and evidence related to challenges commonly encountered in small scale water supplies and options for effective management approaches.

Based on the workshop outcomes, this document is intended for supporting decision makers in the drinking-water sector to better appreciate and address the specifics and characteristics of small scale water supplies. It provides a range of background information and gives guidance for addressing the issue of small scale water supplies in national programmes. Additionally, information on further reading as well as current regional and international networking activities with respect to small scale water supplies is provided.

# What are small scale water supplies?

The definition of a small scale water supply can vary widely within and between countries. Frequently, small scale water supplies are defined on the basis of legislative provisions such as population size, quantity of water provided, number of service connections or the type of supply technology used. For example, according to the provisions of the European Union (EU) Drinking Water Directive (DWD), “small” supplies are defined as supplies serving between 50 and 5,000 persons or supplying 10 - 1,000 m³ water per day, and “very small” supplies serving less than 50 people.

No matter what criteria or terms are used to describe small scale water supplies, typically it is not the size in itself that sets them apart from larger supplies but their administrative, managerial and operational characteristics, conditions and challenges. For the purpose of this document, the term ’small scale water supplies’ is used. Unless otherwise specified, this term does not refer to a particular number of people served or an amount of water supplied.

Small scale water supplies comprise different types of supplies which may be categorised by two criteria, i.e. the group of people responsible for their administration, management and operation and the group of users of the supply:

- Private or individual wells: point sources, such as boreholes, dug wells or springs, potentially piped into the dwelling or yard, which typically serve a single family or a small number of households (e.g. farms, hamlets), and which are operated by the users themselves.

- Community managed supplies: systems administered and managed in self-responsibility by the community members (e.g. cooperatives) who are also the users of the water. Community managed water supplies range from simple point sources from which community members collect water and carry it home to more sophisticated systems which may involve treatment, storage and piped distribution into dwellings or yards.

- Public supplies: systems administered and managed by a distinct public entity (e.g. municipality, water board association) responsible for the provision of drinking-water to the public in a spatially limited area (e.g. small municipality or town).

Small scale systems are vital to water supply of significant parts of the population in all countries of the European Region. This applies to both permanent residents and transient users (e.g. tourists, guests). Small scale water supplies usually prevail in rural areas, including individual farms or settlements, hamlets, villages and small towns, or on small islands. Typically they can also be found in vacation or leisure homes, trailer parks or camping grounds. Displaced, mobile, migrant and temporary populations, including occupiers of temporary homes, pilgrims, nomads, seasonal workers or participants of large festivals or fairs may place additional stress on management and operation of small scale water supplies. Water supplies serving peri-urban areas (i.e. the communities surrounding major towns and cities) are often beyond the reach of municipal services and organised in the same way.

Even though information on small scale water supplies is limited, data on the population living in rural areas, on access to improved water supplies in rural areas and examples on the occurrence and distribution of small scale water supplies from various countries emphasize their significance.

# Why are small scale water supplies important?

The United Nation Millennium Development Goal (MDG) target 7c calls on countries to halve, by 2015, the proportion of people without sustainable access to safe drinking-water and basic sanitation. The Joint Monitoring Programme (JMP) of WHO and the United Nation Children’s Fund (UNICEF) is mandated to monitor progress towards the MDG. As the indicator for drinking-water, JMP uses the proportion of the population using an improved drinking-water source in urban and rural areas. Improved drinking-water sources (Table 1) are those that by the nature of their construction adequately protect the source from outside contamination, in particular with faecal matter. Therefore, they are more likely to provide safe drinking-water than sources characterised as unimproved. Current JMP data suggest that, at a global scale, the access to safe drinking-water targeted for 2015 is expected to be met or even exceeded at the current rate of progress.

Table 1. JMP classification for improved and unimproved drinking-water sources

| ‘Improved’ drinking-water sources | ‘Unimproved’ drinking-water sources |
| --- | --- |
| Piped water into dwelling, plot or yard Public tap or standpipe Tubewell or borehole Protected dug well Protected spring Rainwater collection | Unprotected dug well Unprotected spring Cart with small tank or drum Tanker truck Surface water (river, dam, lake, pond, stream, canal, irrigation channel) Bottled water |

On a global scale, 884 million people or 13 % of the world’s population had no access to improved water supply in 2008. Disparities between urban and rural areas are significant: 84 % of the population without access to improved sources live in rural areas.

In the European Region, approximately 30 % of the total population live in rural areas (Table 2). Access to improved drinking-water sources in countries of the European Region varies between 70 % and 100 %, and in rural areas between 61 % and 100 %. Of the population in urban areas 1 % is without access to improved drinking-water sources, however, in rural areas, this is the case for 6 % of the population or circa 16 million people. More details for Eastern Europe, Caucasus and Central Asia (EECCA) countries, for South East Europe (SEE) countries and EU member states are given in Table 2 in conjunction with Figure 1.

Include map depicting EURO countries and sub-regions (WHO CC Bonn, Ina Wienand)

Table 2. Access to improved drinking-water sources in rural areas in the European Region

| Area | Total population | Proportion of rural population | Access to improved sources |
| --- | --- | --- | --- |
|  |  |  | Rural population | Total population |
| European Region | 889,574,000 | 30 % | 94 % | 98 % |
| EU | 494,769,000 | 26 % | 92 % | 95 % |
| EECCA | 276,819,000 | 36 % | 85 % | 92 % |
| SEE | 56,429,000 | 45 % | 59 % | 61 % |
| Other countries | 93,736,000 | 29 % | 97 % | 99 % |

Detailed and systematic information on how many small scale water supplies exist and where they prevail in different countries of the European Region is not readily available. However, it is very clear: they are many – this is shown by the following exemplary data:

- Hulsmann (2005) estimates that one in ten citizens of the European Union receives drinking-water from small or very small systems, including private wells.

- In Germany, approximately 20 % of the population receives water from more than 3,300 small public supplies serving less than 5,000 people, and about 700,000 use water from approximately 185,000 private or hamlet wells. In the Federal States of Bavaria and Baden-Württemberg, for example, more than one third of the population is served by small public supplies.

- More than 90 % of the circa 2,900 drinking-water suppliers in Switzerland are small suppliers serving less than 5,000 inhabitants.

- In Italy, out of the approximately 11,500 drinking-water supplies in 1999, more than 7,100 served between 3-275 m3 per day, and circa 2,800 served between 276-1,370 m3 per day; most of those small public supplies on spring or well water.

- In the Czech Republic, 7.6 % of the population are supplied with water from individual sources (i.e. domestic wells for permanent households); in addition, several million people use water from domestic wells during weekends or holidays (i.e. cottages, weekend houses, recreational facilities). According to the last official estimation in 1989, there were about 750,000 private wells in the Czech Republic. In 2007, 93 % of the 4,065 water supply zones served each less than 5000 persons, with 29 % serving less than 100 persons and 51 % serving between 101-1,000 persons.

- Approximately 1,000 of the 1,450 waterworks in Finland are classified as small scale waterworks in rural areas, serving 50-500 inhabitants.

- About 25 % of the total population of 3.4 million in Lithuania is from individual (dug) wells, mostly serving one family. Out of the 1,918 centralised public drinking-water supplies in Lithuania, 6 % serve between 100-1000 m3 per day and 91 % serve less than 100 m3 per day.

- In Estonia 16 % of the total population relies on private water supplies (boreholes and wells), and 59 % of the rural population is connected to centralised public water supplies. Out of the 1,235 centralised drinking-water supplies in Estonia, 107 supply between 100-1000 m3 per day serving approximately 12 % of the total population, and 1,106 supply less than 100 m3 per day serving about 12 % of the total population, too.

- In Scotland, a population of 160,000 people (i.e. excluding thousands of occasional users such as holiday makers) or 3 % of the total population is served by approximately 16,000 private water supplies.

- In Belarus, about 47 % of the rural population receives drinking-water from small centralised public water supplies.

- In Kyrgyzstan, approximately 83 % of rural dwellers receive their drinking-water from municipality or government managed centralised water supplies. However, more than 600,000 people (20 %) in ca. 480 villages use water from irrigation channels or rivers to meet their drinking and other water needs.

- In Armenia, water supply is performed through about 880 centralized public water supplies, largely managed by 5 organised utilities; additionally, in about 570 rural communities the supply is operated by the community or municipality itself.

In order to appreciate the relevance of small scale water supplies, and to address the related issues appropriately, the following section describes a range of typical challenges they face.

# What are the challenges?

Small scale water supplies face a number of similar characteristics and challenges. They are related to their regulatory environment, administration, management, operation or available technical, personnel and financial resources. They include – but are not limited to – the aspects listed below. It should be noted, however, that neither every characteristic described below is necessarily relevant to all small scale water supplies nor are the challenges limited to small scale water supplies only. The list rather reflects experiences shared and reported by countries represented at the previously mentioned workshop in Bad Elster.

Regulations

- Small scale supplies are often not regulated or regulated differently compared to larger supplies. The supranational legislation of the EU is an example for this: According to the provisions of the DWD, member states may exempt supplies serving less than 10 m³ a day or serving fewer than 50 persons from the minimum requirements of the DWD, unless the water is supplied as part of a commercial or public activity. In cases where regulatory requirements for small scale water supplies exist, enforcement mechanisms tend to be weak or ineffective, amongst other reasons, due to their large numbers and geographical spread.

- Regulations often base required drinking-water quality monitoring frequencies on the size of the population served. Minimum monitoring requirements for small scale water supplies are comparatively rare and typically range between 1 and 4 analyses per year; some jurisdictions even exclude private wells from any monitoring requirements. In combination with non-existent or less stringent reporting requirements, in many countries, systematic evidence on the status of drinking-water quality in small scale water supplies is not readily available.

Attention and sense of responsibility

- Experience has shown that small scale water supplies typically receive less political attention. Managers and operators of small community managed or public supplies are rarely organised in professional networks or lobby groups that ‘mouthpiece’ their interests. Therefore, financial and political support, both locally and nationally, is harder to leverage, resulting in limited and inconsistent resourcing.

- There is frequently a low level of awareness and knowledge of potential risks from water to health amongst rural populations – as if to say: “My grandpa already drank our local groundwater and never got sick.”

- The inaccurate perception of the importance of water supply for public health protection may lead to a lack of sense of responsibility among local decision makers resulting in comparatively little political priority and thus under-resourcing of water supply.

Staff and management

- Small scale water supplies frequently lack personnel with specialised knowledge. Often non water professionals or undertrained persons operate the supply. In community managed or public supplies, staff regularly has many tasks within the community or municipality in addition to water supply. Due to the larger geographical spread, and sometimes remoteness and isolation, operators of small scale water supplies lack easy access to information, expert assistance and technical support; there is also a low level of networking in scientific and professional communities.

- Frequently, there is a lack of awareness and knowledge and application of internationally or nationally recognised ‘good’ managerial and operational practices, including those recommended by the WHO Guidelines for Drinking-water Quality or relevant international standards. Integrated risk assessment and risk management approaches, such as the WHO-recommended Water Safety Plan (WSP) approach, are not extensively applied.

Water resources and treatment

- Small scale water supplies are more vulnerable to contamination. In many rural contexts, sanitary protection of drinking-water sources is inadequate; protection zones are often not established. Especially in agricultural areas, common critical pollution risks include cattle breeding and wildlife, poor manure management or inadequate local sanitation practices which frequently result in poor microbial drinking-water quality or elevated nitrate levels.

- The use of water treatment technologies is generally limited and not necessarily consistent with source water quality. In many rural settings, groundwater is used for drinking purposes without disinfection, regardless of its contamination level. Heavy rainfalls and thaw have been reported to pose significant stress to small scale treatment systems. Small scale water supplies are also expected to be less resilient to quality and quantity (e.g. water scarcity) issues induced by climate change.

- Small scale water supplies are more vulnerable to breakdown. Maintenance of infrastructures is often limited due to the lack of adequate resourcing, spare parts or building materials. In consequence, aged supply infrastructures of in principle ’improved’ sources are often disrupted or not in working condition. This and the lack of electricity limit operations, frequently leading to intermitted supply with negative impacts on personal, domestic and food hygiene conditions. Users may also turn to other, potentially ‘unimproved’ and therefore unsafe sources as alternative sources of water supply.

- Small scale water supplies have relatively greater capital costs of technical installations and also per unit costs of materials and construction are generally larger.

# What is the evidence?

In many countries of the European Region, systematic evidence on the status of drinking-water quality in small scale water supplies is not readily available. Personnel, financial or technical capacities and outreach of local, regional or national agencies mandated with drinking-water quality are often weak in rural areas. Experience has shown that systematic and ongoing routine drinking-water quality surveillance of small scale water supplies, including drinking-water quality monitoring and sanitary inspection, is frequently inadequate or non-existent. In rural areas, independent surveillance of drinking-water quality and sanitary risks is frequently rather random and ad-hoc based, for example in response to disease outbreaks or incidents.

Nationally available drinking-water quality data are often biased to water supply in urban areas and rarely represent the situation in rural areas. Furthermore, data are commonly scattered among different local, regional and national institutions, difficult to access and thus not ready for analysis. In consequence, there is little readily available ‘hard data’ on drinking-water quality in small scale water supplies in the European Region; respective evidence therefore often remains ‘informal’ and ‘anecdotal’. An exemplary overview of drinking-water quality data for a limited number of countries in the European Region is shown in Table 3.

The information provided in Table 3 also shows that compliance with microbial indicators (e.g. Escherichia coli, thermotolerant coliforms or total coliforms) remains a challenge in many small scale water supplies, more than in centralised supplies, resulting in water of a quality potentially not safe for consumption. However, data on the occurrence of waterborne pathogens which may be of relevance in rural areas (e.g. pathogenic Escherichia coli, Campylobacter jejuni, Salmonella typhi, Cryptosporidium parvum, Giardia intestinalis) are sparsely available due to the lack of specialised analytical techniques in many local laboratories. In addition to microbial pollution, chemical contamination with naturally occurring arsenic, fluoride, uranium, sulphate, iron or manganese as well as nitrate or pesticides in agricultural areas remains a considerable local or regional concern.

Table 3. Exemplary drinking-water quality data for small scale supplies in the European Region.

England and Wales

An analysis of data collected from 150 local authorities in England covering about 35,000 microbial water quality results for about 11,200 private water supply sites for the time period 1996-2003 revealed that E. coli was detected in 19 % of samples with at least one positive sample being detected at 32 % of water supply sites (compared to 0.1 % of samples from mains water supplies). While only approximately 0.5 % of the total population relies on private supplies, 36 % of all detected drinking-water outbreaks were associated with such supplies.

Scotland

Out of 1,750 samples taken from private water supplies in Scotland between 1992 and 1998, 41 % failed compliance for total coliforms, 30 % failed for E. coli and 15 % failed for nitrate. The combined failure rate was 48 %. After the introduction of new regulations for private water supplies, data from 2008 show that 23 % of the 2,650 samples taken from private wells did not comply with E. coli standards. Non compliance rates for chemical parameters include copper and iron (both ca. 12 %); manganese (ca. 9 %); lead, fluoride and nitrate (all ca. 6 %); and arsenic (ca. 2 %). Between 1 January 2006 and 15 October 2008 there were 48 confirmed clinical cases of E. coli O157 infection where E. coli. O157 contamination of a private water supply was either confirmed or suspected.

Czech Republic

In a study carried out by the National Institute of Public Health in 1999, reviewing water quality data from about 1,700 small public groundwater well supplies and 3,300 private wells of the period 1991-1998, showed a non-compliance rate with health related parameters of about 70 %. 9 out of 27 waterborne outbreaks reported in 1995-2005 were caused by private (domestic) wells and another 10 by small commercial wells.

Lithuania

No routine monitoring for private wells is required; for most of the shallow dug wells monitoring is ad-hoc. Contamination with nitrate (46 %) and microbial indicators (28 %) are most common. Maximum nitrate levels found were 620 mg/l (median: 43 mg/l), and a few cases of infant metheamoglobinaemia (“blue baby syndrome”) are reported every year (e.g. 3 cases in 2007). In small public drinking-water supplies, excess concentrations of naturally occurring fluoride are a major quality concern. Out of all non-compliances detected, 95 % occur in small public water supplies serving less than 100 m3 per day.

Estonia

In 96 small centralised water supplies, the major drinking-water quality problem are excess concentrations of naturally occurring fluoride of higher than 1.5 mg/l; the degree of contamination varies regionally and depends on the used groundwater level. Microbial contamination in small centralised water supplies. Waterborne outbreaks have not been reported since 2000.

The Former Yugoslav Republic of Macedonia

In 2007, 22 % of the rural population used unsafe water. 33 % of the rural population used centralised piped water supply systems represent with a bacteriological failure rate of ca. 2 %; local piped water supply systems were used by 54 % of the rural population (bacteriological failure rate: 23 %); local (non-piped) water sources are used by 13 % (bacteriological failure rate: 30 %).

Germany

In the Federal State of Baden-Württemberg, for example, 523 samples from about 13,500 private wells were analysed in 2007; non-compliance rates for E. coli and total coliforms were 18 % and 43 %, respectively. Non-compliance rates for small public water supplies serving less than 5,000 persons were 2 % and 5 % for E. coli and total coliforms, respectively. Data from the Federal State of Bavaria show similar figures. In 2002, about 700 samples from private wells were tested for E. coli with a non-compliance rate of approximately 22 %. In comparison, non-compliance in centralised public supplies was about 3.5 % only. A recent review of water quality data for small public supplies in Germany for 2007 revealed that non-compliances for E. coli, enterococci, colony count, nitrate, ammonium, iron, manganese, pH and turbidity were particularly frequent. The review also showed that the number of non-compliances decreases at increasing size of supplies (i.e. 398 non-compliances were detected in supply zones serving between 10-100 m3 per day; 274 were detected in supply zones serving between 100-400 m3 per day and 146 were detected in supply zones serving between 400-1,000 m3 per day). About 8.5 % of all water supply zones serving less than 5,000 people or 1,000 m3 per day showed at least one non-compliance in 2007.

Finland

In a pilot study which investigated 245 small scale water supplies serving less than 500 persons in the rural areas, the most frequent drinking-water quality problems identified include acidity (33 % of the samples), iron and manganese (26 %), coliforms (18 %), turbidity and colour (9 %), E. coli (7 %) and fluoride (4 %).

Armenia

In the period 1991-2001 in total 52 outbreaks of intestinal infections (e.g. typhoid fever, cholera, viral hepatitis A, bacterial dysentery or intestinal infections of unknown etiology) with 12,508 cases of morbidity were reported; in the period 2002-2007, 27 outbreaks of waterborne disease with 3,576 cases were reported.

Belarus

Non-compliance with the sanitary requirements for drinking-water to rural populations is approximately 44 %. Norms for microbial indicator parameters and chemical parameters are not met in 16 % and 41 % of the cases; non-compliance with iron is highest with ca. 50 %.

The challenges reported, in combination with water quality data indicating a comparatively high degree of non-compliance with microbial indicators, give cause for the question in how far small scale water supplies - in comparison to larger supplies - are actually more prone to outbreaks of waterborne disease (such as acute diarrhoeal illness, typhoid, cholera, bacillary dysentery, E. coli infections and viral hepatitis A).

Every year, about 207 million incidents and 39,000 deaths are attributed to diarrhoea in the European Region. The burden of disease caused by diarrhoea in Europe amounts to approximately 1,393,000 DALY (disability-adjusted life years) per year. On a global scale, 90 % of those who die are children under the age of 5.

Systematic, easily accessible evidence on waterborne disease outbreaks in small communities in the European Region is currently not readily available. However, ‘anecdotal evidence’ suggests that outbreaks of waterborne diseases in small rural communities are largely underreported. Experience has shown that disease surveillance is primarily ad-hoc driven in response to incidents rather than systematic and prospective and that effective surveillance systems are often lacking or not adequate in rural areas. A complicating challenge in rural areas is that single outbreaks typically have relatively low numbers of cases which are difficult to capture and to associate to a common source of exposure. In addition, most of the diseases transmitted by ingestion of contaminated water are transmitted in higher frequencies from other sources such as food and person-to-person contact, making it difficult to identify the extent of the contribution of water.

Table 4 presents the preliminary results of an ongoing literature review on disease outbreaks in small scale water supplies for the European Region.

Include summary of results of ongoing literature review of disease outbreaks and health outcomes related to small scale water supplies (ISS, Enzo Funari)

# What are the cost and benefits of interventions?

The benefits from investing in small scale water supplies and from developing appropriate policies, programmes and regulations are significant. The impact of diarrhoeal disease for children under the age of 15 is greater than the combined impact of HIV/AIDS, tuberculosis and malaria. The provision of improved drinking-water and sanitation could reduce diarrhoeal diseases by nearly 90%, and current estimates indicate that improvements in these areas could reduce the number of children who die each year by 2.2 million.

By improving the situation regarding access to drinking-water and sanitation, significant savings in health-care costs and gains in productive days can be realised. While the median reported government spending on sanitation and drinking-water is 0.48% (for drinking-water only: 0.04% - 2.8%) of the gross domestic product (GDP), investments result in large economic returns, recently estimated by the World Bank to amount to approximately 2% - 7% of the GDP.

The main economic benefits of investments in drinking-water and sanitation are

- Health-care savings by health agencies and individuals

- Productive days gained per year (for those 15-59 years of age) and increased school attendance

- Time savings (working days gained) resulting from more convenient access to services

- Value of deaths averted (based on future earnings)

The prevention of illness and death results in the avoidance of associated health costs, as well as an increased potential for education and business development, and an increase of the long-term sustainability of small communities. In developed countries, an US $ 1 investment results in a return of US $ 2.786 (in terms of costs averted and productivity gained). In developing countries, the return is even significantly higher at US $ 5.97 per US $ 1 investment, particularly due to the significant decrease of mortality rates which can be achieved through investments. Health benefits of improvements of the management of small scale water supplies in developed countries outweigh the costs. However, according to the UN-Water GLAAS report of 2010, 62% of sanitation and drinking-water aid is targeted to large systems (for drinking-water, these include treatment, drinking-water conveyance and distribution), whereas approximately 16% of the aids are targeted at basic systems (low cost technologies such as, for drinking-water, hand pumps, spring catchment, gravity-fed systems, rainwater collection, storage tanks, and small distribution systems).

# How can WSP improve small scale water supplies?

During the revision of the WHO Guidelines for Drinking-water Quality leading to the 3rd edition, the value of the WSP approach which is based on the food safety principle of Hazard Analysis and Critical Control Points (HACCP), and focuses on prevention and process control has repeatedly been highlighted. It is part of the Framework for Safe Drinking Water of the WHO in which it is complemented by the components health based targets, as well as an independent surveillance. Related national regulatory requirements exist, also for small supplies, e.g. in Switzerland, Iceland and the UK.

As part of the WSP approach, the following questions are being asked in a continuous cycle:

- What are the hazards in my supply system?

- How do I fix the hazards?

- How do I know that the hazards are fixed?

Critical factors for the success of WSP in small scale water supply systems are the demystification of WSPs, a need for easy, plain-worded language, development and distribution of nationally adapted, technology specific model WSPs, availability of guidance in multiple languages, work aiming for incremental improvements - noting that “it is important just to get started”, and that there is no one single way to develop a WSP - , professional support of the implementation and application of WSP with adequate experience and expertise, with trained WSP facilitators, and complemented by surveillance, and the presence of training and education programmes, establishment of partnerships.

So far, only limited evidence exists of the use of WSP in small scale water supplies. Individual project-driven pilots including small supplies exist from e.g. the Czech Republic, Austria, Finland and Germany. Pilots in the context of development aid programmes were conducted in e.g. Kyrgyzstan. A pilot project conducted in Germany as a joint exercise of 4 neighbouring small scale water supplies led to the conclusion that WSP is an excellent tool for small scale water supplies, as small supplies are less complex, and responsibilities are less divers. It was found that, particularly through the partnership between the involved small supplies, becoming blind to shortcomings was avoided, the organisation and documentation became more reliable, and that a better legal protection through preventative protection of public safety was achieved.

Switzerland, where drinking-water is categorised as a food, has developed regulations for a simple quality management system in drinking-water supplies, based on the HACCP principle. In Iceland, drinking-water is also regulated under food legislation, and a HACCP-based approach has been developed for the specific needs of small scale water supplies.

A WSP-manual for the step-by-step risk management for drinking-water suppliers was published by WHO in 2009, and is available online in English, Spanish and Chinese. A WSP-manual, specifically suited to the particular requirements of small scale water supplies is currently being developed by WHO.

# Existing resource materials

The Scottish Executive has published a Technical Manual for Private Water Supplies in English which is intended to assist professionals regulating and maintaining private water supplies. The document Private Water Supplies Technical Manual Part IV – Risk Assessment has been translated into Russian, and is available from the joint Secretariat on CD and hard copy, and has been distributed to the WHO network of country offices. The manual incorporates earlier guidance for small supplies, and particularly their operation and regulation. It covers the aspects of properties and contaminants of water, source selection, protection and monitoring, risk assessment for private water supplies (including case studies), water treatment, legislative background, sampling and response to waterborne hazards for private water supplies.

The publication of the Finnish Environment Institute covers the topics of water quality, quality control, operational monitoring, technology, distribution, maintenance and emergency situations at small waterworks. The focus of this guide is on water supplies using shallow groundwater sources, with small waterworks’ operators being the target audience of the document. The purpose is to provide help and advice with respect to maintenance of the waterworks, as well as to serve as a handbook of water hygiene issues in small scale waterworks, supporting operators with the preparation for an official examination designed for waterworks personnel. General requirements and considerations are described, and special attention is given to small scale supplies in case deviations from the general situation apply. A check list for assessing the vulnerability of small waterworks, covering the areas of groundwater intake / surroundings, water treatment plants, potable water network, personnel, access control and security, operating instructions and plans, as well as back-up systems, is provided as an appendix. The publication is available in Finnish, Swedish and English.

In Austria, several guidance documents have been developed with respect to small scale water supplies. These include a brochure on the operation and maintenance of private wells and sources by the federal state of Carinthia outlining operators’ obligations and how they can be fulfilled. Common causes for drinking-water contamination, common structural deficiencies of wells, as well as options for their repair are given. Salzburg in Austria has also published a report on their drinking-water campaign conducted in 1997, collecting data on the existing situation of drinking-water supplies, and providing consulting services for the users of drinking-water. In this document, recommendations of data to be collected on-site, drinking-water parameters, analytical results, aspects affecting drinking-water quality, related measures to address these aspects and recommendations for consumers are discussed. Another comprehensive guidance document was published by the Austrian agency for health and food safety and the Austrian ministry of health, family and youth (BMGFJ), providing information on different types of wells, construction of private wells, repair of existing facilities, control and maintenance, drinking-water analyses, and the legislative framework. All Austrian materials are available in German.

Germany has developed a guidance document specifically aiming at the information needs of local health authorities involved in the surveillance of small scale water supplies.  This paper contains information on the statutory basis in Germany, responsibilities, water supply with several sources, surveillance parameters and their relevance, contamination sources in the catchment area, technical problems of well installations and drinking-water installations in buildings, drinking-water treatment, action plans, inventories of individual wells, as well as templates for required forms. The document is available in German. Furthermore, some administrative districts have published guidance documents in German, particularly for operators of private wells and authorities involved in surveillance.

Documentation on small scale water supplies in areas outside the European Region includes guidance on preparing a risk management plan for small supplies from New Zealand. This guide gives information in English on the components of the plan and on how it should be used, as well as templates for e.g. a flow chart and worksheets of the single components of the water supply. The guide should be used in conjunction with the video / DVD on this topic which is also available from the New Zealand Ministry of Health, as well as further training DVDs and training tool materials.

Information material from Bangladesh includes - as the nature of hazards and hazardous events is sufficiently similar - technology generic advice on WSPs for dug wells, pond sand filter in rural water supply system, RWHS in rural water supply system, handtubewells in rural water supply system, and for several arsenic removal technologies. The publications were developed in a participatory fashion, based on local expert opinion, and are available online in English.

The overview shows that tools, particularly for the application of WSPs in small scale water supplies, are evolving and that WSPs can be utilised as an important alternative to a compliance-driven approach. However, the awareness of the particular requirements of small scale water supplies needs to be increased to make sure that enabling environments can be created, and information needs to be made available in national languages.

The following section gives examples of currently established networks, in which activities for the improvement of the situation are conducted.

# Current network activities

Under the international WHO activities, the International Small Community Water Supply Network was formed to promote the achievement of substantive and sustainable improvements to the safety of small scale water supplies, particularly in rural areas, through the shared objectives of:

- Developing internationally recognized guidance

- Developing and facilitating access to tools to implement such guidance

- Building the evidence base to facilitate advocacy for political support

The Network is open to anyone working on the topic of small scale water supplies. Members typically represent universities, governments and non-government organisations, and work together to identify common management and technical issues and problems, and find workable solutions in geographic and cultural context for small scale water supplies. There are over 40 countries currently represented in the network. The workplan for the Network is built in three sections: internationally recognised guidance for the management of small community water supplies, tools to assist in the management of small scale water supplies, and development of the evidence base for political support.

Amongst the accomplishments of the Network are:

- Development of a framework for the management of small scale water supplies based on the WSP approach

- Development of guidance on how to use communication to secure and improve human health

- Collection of 500 training tools in the virtual forum

- Collection of 33 examples of risk communication tools

- 50 examples of risk assessment tools

- Access to a Lexicon of technical terms related to small scale water supply systems

- Development of draft guidance on how to conduct economic analysis for water, sanitation and hygiene interventions

- Development of a global advocacy document

The Advising-assistance Programme for Environmental Protection in Central and Eastern Europe, the Caucasus and Central Asia of the German Federal Environment Agency (UBA) funds consultation projects aiming to adopt EU environmental standards on relevant environmental issues in cooperation with regional and German partners.

Areas of work concerned with the Programme are: knowledge transfer, awareness raising, institution building, and preparation of investment projects. Project characteristics are improvement of the environmental situation, role model, and transboundary benefits.

At present 34 projects are operational on water issues. Examples for projects on drinking-water quality include:

- Quality assurance of drinking-water in Bulgaria

- Local and sustainable waste water management in Kyrgyzstan

An ad-hoc project facilitation mechanism (AHPFM) was established under the Protocol on Water and Health to promote the coordination of international aid to recipient countries and to enhance the capacity of recipient countries to access financial resources. Topics covered under the AHPFM include amongst others water management plans, education and capacity building, as well as legislation. The AHPFM could represent an important mechanism for the development of appropriate advocacy mechanisms. Examples of eligible projects include preparation of schemes for improving water supply and sanitation, establishment of systems of surveillance and early-warning in relation to water related diseases, preparation of legislation needed to support the implementation of the Protocol, research, and education and training of professionals and technical staff.

These networks provide valuable information and guidance and support projects to better understand and improve the situation of small scale water supplies. However, particularly on a national and local basis, further action is required towards the goal of extending the access to safe drinking-water from small supplies, as addressed in the following section.

# Way forward

In order to improve the situation of small scale water supplies, it is crucial to create an enabling environment in which decision makers are aware of the special requirements and challenges of such supplies, and where required guidance is provided. Authorities involved in drinking-water issues need to be attentive to the characteristics, importance and challenges with respect to small scale water supplies in order to appropriately appreciate their relevance, and promote the improvement of their situation.

Related activities may include, but are not limited to, the following aspects:

- Relevant policies, programmes and regulations should be developed and adopted, giving due recognition to the particular needs and challenges faced by small scale water supplies. This includes review and potentially required amendment of existing legislation and regulations.

- External expertise, opportunities for establishment of partnerships amongst suppliers, training, education and easy to understand guidance documents should be provided for operators of small scale water supplies, and should also be made available in remote areas. Suppliers should be provided with the information they require in order to assess their supplies, and to provide safe water. This should specifically include information on risk management approaches such as WSP, adapted to the particularities of small scale water supplies.

- Communication efforts to increase understanding of water and health issues to local and national media, general practitioners, hospitals, nursing homes, and other elements of the health system.

- Promotion of twinning arrangements between major water services and small scale water suppliers, in order to increase exchange of knowledge and expertise.

- Implementation and spreading of available information and legislation by conducting and supporting pilot projects, taking local conditions into consideration.

- Cooperation of authorities involved in order to ensure an efficient approach and information distribution to all recipients requiring it.

- Authorities should consider possibilities to allocate resources for the improvement of small scale supplies and improvement of outbreak detection, particularly based on the positive cost/benefit ratio for investment in improving small scale systems.

Non-Governmental Organisations (NGOs) can play an important role in providing safe water and adequate sanitation through local action in rural areas. This includes special programmes for education and awareness building, particularly at the village level. For example, pilot projects were conducted by three NGOs in communities across Bangladesh after WSPs were developed. The projects included a baseline assessment of the water quality, sanitary inspections, assessment of hygiene awareness and behaviour, and training of caretakers. The NGO Women in Europe for a Common Future (WECF) have for example conducted projects in Romania which also addressed awareness raising issues in rural areas, water testing in public wells and the issue of agricultural pollution. Their publications include a brochure on developing WSPs involving schools, and one on lessons learned from the application of WSP in small scale water supplies. In general, international and local NGO’s can

- Cooperate with local authorities

- Involve the community in testing water quality

- Assist with drinking-water analyses issues

- Raise awareness

- Assist local communities in the development of small scale WSP

- Catalyse and undertake priority water supply and sanitation action in (rural) schools, including teacher training regarding local WSP

- Develop local curricula for hygiene training in schools

A pro-active approach can reduce potential threats resulting from unsafe water, convert the costs into benefits, and improve the situation of small scale water supplies, and as a result contribute to preventing illness and death and associated health costs, particularly for rural populations. Furthermore, benefits can be achieved in the areas of education, business development, and the long-term sustainability of small communities can be increased.

All references to web pages are current as at April 2010.

# Footnotes

According to the definition of WHO, the European Region comprises the following 53 countries: Albania, Andorra, Armenia, Austria, Azerbaijan, Belarus, Belgium, Bosnia and Herzegovina, Bulgaria, Croatia, Cyprus, Czech Republic, Denmark, Estonia, Finland, France, Georgia, Germany, Greece, Hungary, Iceland, Ireland, Israel, Italy, Kazakhstan, Kyrgyzstan, Latvia, Lithuania, Luxembourg, Malta, Monaco, Montenegro, Netherlands, Norway, Poland, Portugal, Republic of Moldova, Romania, Russian Federation, San Marino, Serbia, Slovakia, Slovenia, Spain, Sweden, Switzerland, Tajikistan, The Former Yugoslav Republic of Macedonia, Turkey, Turkmenistan, Ukraine, United Kingdom and Uzbekistan.

United Nation Development Programme 2006. Summary Human Development Report 2006. Beyond scarcity: Power, poverty and the global water crisis, New York.

Council Directive 98/83/EC of 3 November 1998 on the quality of water intended for human consumption.

WHO and UNICEF 2010. Progress on sanitation and drinking-water: 2010 update, Geneva and New York.

See above.

See above.

EU countries: Austria, Belgium, Bulgaria, Cyprus, Czech Republic, Denmark, Estonia, Finland, France, Germany, Greece, Hungary, Ireland, Italy, Latvia, Lithuania, Luxembourg, Malta, Netherlands, Poland, Portugal, Romania, Slovakia, Slovenia, Spain, Sweden and United Kingdom. EECCA countries: Armenia, Azerbaijan, Belarus, Georgia, Kazakhstan, Kyrgyzstan, Republic of Moldova, Russian Federation, Tajikistan, Turkmenistan, Ukraine and Uzbekistan. SEE countries: Albania, Bosnia and Herzegovina, Bulgaria, Croatia, Montenegro, Republic of Moldova, Romania, Serbia and The Former Yugoslav Republic of Macedonia. Other countries: Andorra, Iceland, Israel, Monaco, Norway, San Marino, Switzerland and Turkey.

Unless otherwise indicated, all country specific data are based on personal communication at the workshop held on 26-27 November 2008, Bad Elster, Germany.

Hulsmann, A. 2005. Small systems large problems: A European inventory of small water systems and associated problems. Web-based European Knowledge Network on Water (WEKNOW). Available at: http://www.weknow-waternetwork.com/uploads/booklets/05_small_water_systems_ver_june2005.pdf (accessed on 19 May 2010).

Unless otherwise indicated, all country specific data in Table 3 are based on personal communication at the workshop held on 26-27 November 2008, Bad Elster, Germany.

Hunter, P. R., Pond, K., Jagals, P. & Cameron, J. 2009. An assessment of the costs and benefits of interventions aimed at improving rural community water supplies in developed countries. Science of the Total Environment 407, 3681-3685. Available at: http://www.sciencedirect.com/science?_ob=MImg&_imagekey=B6V78-4W0344N-4-5&_cdi=5836&_user=5905692&_pii=S0048969709002496&_orig=search&_coverDate=06%2F01%2F2009&_sk=995929987&view=c&wchp=dGLzVtz-zSkWb&md5=826507c75026b0206bf856f2045fdf47&ie=/sdarticle.pdf (accessed on 25 May 2010).

Richardson, H. Y., Nichols, G., Lane, C., Lake, I. R. & Hunter, P. R. 2009. Microbiological surveillance of private water supplies in England – The impact of environmental and climate factors on water quality. Water Research 43 (8), 2159-2168. Available at: http://www.sciencedirect.com/science?_ob=MImg&_imagekey=B6V73-4VS402T-1-2&_cdi=5831&_user=5905692&_pii=S0043135409001122&_orig=search&_coverDate=05%2F31%2F2009&_sk=999569991&view=c&wchp=dGLbVzz-zSkzk&md5=24454c3d0429d11bdbdedb23a9dc166c&ie=/sdarticle.pdf (accessed on 25 May 2010).

WHO 2008. Global Burden of Disease: 2004 Update, Geneva. Available at: http://www.who.int/healthinfo/global_burden_disease/GBD_report_2004update_full.pdf (accessed on 25 May 2010).

WHO: GLAAS 2010. UN-Water global annual assessment of sanitation and drinking-water. Targeting resources for better results, Geneva (2010), accessible at http://www.unwater.org/downloads/UN-Water_GLAAS_2010_Report.pdf

Evans, B., Hutton, G., Haller L.: Evaluation of the costs and benefits of water and sanitation improvements at a global level (2004), accessible at http://www.who.int/water_sanitation_health/wsh0404.pdf

Cameron J., Hunter P., Pond K., eds.: Valuing water, valuing livelihoods: Guidance document on social cost-benefit analysis of drinking-water interventions, with special reference to small community water supplies (in press), cited in: WHO: Small and Safe. Investing in small community water supplies will reduce waterborne disease outbreaks and overall costs (2010)

Hunter P., Pond K., Jagals P., Cameron J.: An assessment of the costs and benefits of interventions aimed at improving rural community water supplies in developed countries, in: Science of the Total Environment (2009)

Comparison of donor commitments to sanitation with donor commitments to drinking water projects, 14 donors, 2008

Friedmann, R.: Water Safety Plan für die Trinkwasserversorgung. Auf sicheren Füßen stehen. WSP - ein ausgezeichnetes Instrument für kleine Unternehmen, in: ZfK Technik (2008)

World Health Organization: Water Safety Plan Manual. Step-by-step risk management for drinking-water suppliers (2009); accessible online at http://whqlibdoc.who.int/publications/2009/9789241562638_eng.pdf (English), http://whqlibdoc.who.int/publications/2009/9789243562636_spa.pdf (Spanish), and http://whqlibdoc.who.int/publications/2009/9789245562634_chi.pdf (Chinese)

The Scottish Executive: Private Water Supplies: Technical Manual, 2006, accessible online at www.privatewatersupplies.gov.uk/private_water/files/Full Doc.pdf. At the site www.privatewatersupplies.gov.uk/private_water, further documents can be accessed, such as a sampling manual, forms and survey templates, information on risk assessment, and summarising information for operators of private wells.

Eija Isomäki, Matti Valve, Anna-Liisa Kivimäki, Kirsti Lahti (published by the Finnish Environment Institute SYKE): Operation and maintenance of small waterworks, Helsinki 2008, accessible online at http://www.environment.fi/download.asp?contentid=94920&lan=en

Amt der Kärntner Landesregierung, Umweltlandesrat Ing. Reinhart Rohr, Gesundheitslandesrat LH Stv. Dr. Peter Ambrozy, LR für Land- und Forstwirtschaft Dr. Josef Martinz und Landwirtschaftskammer Kärnten - Präsident ÖR Walfried Wutscher, LFl: Betrieb und Wartung von privaten Hausbrunnen und Quellen, Klagenfurt 2005, accessible online at http://www.ktn.gv.at/12320_DE-

Land Salzburg, vertreten durch die Abteilung 16 Umweltschutz: Zusammenfassender Bericht über die Aktion: Sauberes Trinkwasser: Alles klar, durchgeführt vom Amt der Salzburger Landesregierung Abteilung 16 Umweltschutz, Landeslabor, in Zusammenarbeit mit dem Referat 9/12 Umweltmedizin, published in 2001

AGES Österreichische Agentur für Gesundheit und Ernährungssicherheit GmbH: Trinkwasser aus Hausbrunnen und Quellfassungen. Ein Ratgeber für private Betreiber, 2008; accessible online at www.bachner-brunnenbau.at/bachner-gruppe/brunnenbau/trinkwasser_aus_hausbrunnen_und_quellfassungen.pdf

Bund-Länder-Arbeitsgruppe “Kleinanlagen” (editor): Empfehlungen zur Überwachung von Kleinanlagen der Trinkwasserversorgung. Leitfaden für Gesundheitsämter (2003)

E.g. Der Kreisausschuss Gesundheitsamt Main-Taunus-Kreis: Kleinanlagen in der Trinkwasserversorgung. Anforderungen gemäß Trinkwasserverordnung 2001 (2006), accessible at http://www.mtk.org/cps/rde/xbcr/mtk_internet/Ortsfeste_Trinkwasseranlagen.pdf; Bayerisches Landesamt für Gesundheit und Lebensmittelsicherheit: Empfehlungen des LGL. Überwachung von Kleinanlagen: Vollzug durch die Staatlichen und Städtischen Gesundheitsämter (2009), accessible at http://www.lgl.bayern.de/gesundheit/hygiene/doc/empfehlungen_anlagen_wasserversorgung.pdf; Landratsamt Zollernalbkreis, Gesundheitsamt: Info für Betreiber von Trinkwasser Kleinanlagen (2008), accessible at http://www.zollernalbkreis.de/servlet/PB/show/1223171/TW%20Info%20fr%20Betreiber%20von%20Kleinanlagen%202008.pdf; Kreis Pinneberg: online information on private wells (undated), accessible at http://www.kreis-pinneberg.de/pinneberg/Direkt_zu-p-990/Trinkwasser/Kleinanlagen.html

Ministry of Health (Wellington, New Zealand): Small Drinking-water Supplies. Preparing a Public Health Risk Management Plan, 2005, accessible at http://www.moh.govt.nz/moh.nsf/0/F21DB73BC949C3F7CC257043000B59BE/$File/smalldrinkingwatersupplies.pdf

ITN International Training Network Centre Bangladesh, 2006 - 2007, Accessible at http://www.buet.ac.bd/itn/

http://www.who.int/water_sanitation_health/dwq/scwsm_network/en/index.html; Contact: scwsm@who.int

Further information on small scale water supplies can be found at the WHO website: http://www.who.int/water_sanitation_health/dwq/smallcommunity/en/index.html

Mahmud, S. et al: Development and implementation of water safety plans for small water supplies in Bangladesh: benefits and lessons leaned, in: IWA Journal of Water and Health (2007)

Möller, D. and Samwel, M.: Developing Water Safety Plans involving schools. Introducing “Water Safety Plans” for small-scale water supply systems. Manual for teachers and pupils (2009)

Samwel, M, Jorritsma, F., Radu, O.: Lessons from Water Safety Plans for small-scale water supply systems as developed by schools in Romania (2010)

# Text boxes

Application of WSP in small scale water supplies: the example of Iceland

It was noted that in Iceland, reported waterborne diseases during the last 20 years were all related to small waterworks in fishing towns or in recreational areas (Gunnarsdóttir 2005). Therefore, it was considered important to implement a preventive water safety approach in smaller communities. Guidelines for HACCP were created in 1996, however, were found to be too complex and time consuming for smaller waterworks with limited resources, and the basis for a simpler WSP (‘mini-HACCP’) was developed for them in 2004. The development of this approach was in cooperation with four small waterworks, and the principle is now being actively promoted, with guidelines available on the website of the Association of Icelandic Waterworks. An analysis of regular surveillance results in 2004 showed that in south Iceland, which is a farming area with a population of approximately 20,000, a 100 % compliance with regulatory requirements for drinking-water quality was achieved in the three towns where HACCP had been implemented, whereas the overall compliance in the area was 85 %, and non-compliance occurred predominantly at small waterworks in farming areas. It was planned to evaluate the introduced mini-HACCP principle in order to identify what kind of support is still required for the implementation of this principle in smaller communities. It was considered one of the major challenges to secure the safety of water from waterworks serving smaller communities with simpler water supply systems.

Gunnarsdóttir, M., Gissurarson, L.: HACCP and water safety plans in Icelandic water supply: Preliminary evaluation of experience, in: IWA Journal of Water and Health, 06.3 2008; and Gunnarsdóttir, M., Gissurarson, L.: HACCP in Icelandic Water Supply - evaluating eight years of experience (2006, accessible at www.samorka.is/doc/1527